PART A

Objective:     After completing this laboratory exercise the student will:

- Be able to conduct hydrant flow tests and graphically represent flow test results.

- Recognize that using multiple flow hydrants or outlets will yield the same curve as using single hydrants or outlets.

Procedure:

Watch the lab activity at OSU and then participate in the lab at SWJTU.

- Using the indicated flow and test hydrants a flow test is to be conducted using a single outlet on the flow hydrant. Results are to be graphically recorded.

Static:

Residual:

Orifice Diameter:

Orifice Cd:

Pitot Pressure:

Calculated Flow:

- Using the indicated flow and test hydrants a flow test is to be conducted using two outlets on the flow hydrant. Results are to be graphically recorded.

Static:

Residual:

Orifice 1 Diameter:				Orifice 2 Diameter:

Orifice 1 Cd: 					Orifice 2 Cd:

Pitot Pressure 1: 				Pitot Pressure 1:

Calculated Flow (total):

- Results from your test are to be plotted on the graph below.