## Slide 1: Cultural Significance
Explain how building design should change based on the expected occupants
Identify code requirements that are culturally dependent

## Slide 2: Historic Fire
Notre Dame

## Slide 3: Underlying Assumptions
Data primarily from relatively few locations
Significant variation

## Slide 4: Underlying Assumptions
Density drives flow
At lowest levels people free to choose own speed
Spacing is culturally dependent

## Slide 5: Building Codes
Use factors
  Determined based on observations of actual buildings
  Change with time
Spiral stairs
  NFPA 5000: Spiral stairs shall turn such that descending users have the outer handrail on their right side

## Slide 6: Societal Norms
Gender
  Some studies found differences in movement speeds, others have not
    Potential correlation to clothing
  Interpersonal spacing
Passing and merging
  Deference behavior
Exit choice

## Slide 7: Fire Experience
Project BeSeCu
  Library evacuations from multiple European countries
  Statistically different results

## Slide 8: Fire Experience
Differences in fire safety training in schools- sometimes within country
Differences in pre-evacuation time
Differences in actions taken
Difference in perceived severity

## Slide 9: Impact
Building design
  Refuge floors
  Vestibules
  Numbers in codes
Speeds
  Clothing
  Density
  Fitness
Interactions
  Merging
  Deference
Response
  Pre-evacuation
  Training
  Behavioral norms
Exit choice
  Exits designated for others
  Familiarity

## Slide 10: Culturally Significant Buildings
Concerns beyond life safety
Building more than just a building
May not be obvious what the significance is to outsiders